3918  Cooper Inspection Repairs Made:

Repaired:  Removed surface corrosion and added bushing clamp:

Repaired:  Installed additional GFCI receptacles

Repaired holes in wall / baseboard:

Repaired:  Replaced receptacle with GFI protected receptacle

Repaired:

Moss washed / removed from roof

Gutters cleaned of leaves/debris (however, during fall, leaves collect in gutter)

Repaired:  Vegetation removed from exterior walls

Repaired:  There was no leakage in the drain line, however, the duct tape was removed and drain line repaired with flexible coupling